C

BRUNNENBAU CONRAD SL LTD

PROJECT: RURAL WATER SUPPLY AND SANITATION PROJECT

LOCATION: OLD MEAMA, KONO DISTRICT

CLIENT: SALWACO & ADB

PUMP /RECOVERY TEST RESULT: 4.3m3/h

DEPTH: 60M

BOREHOLE No. 1 HAND PUMP

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 1/02/2016 | 8h00mn | Well | 60m |  |  |  |
|  |  | 25mn | (m) | (m3/h) | (l/s) |  |
| Start | 8h00mn | Swin | 6m22 | 4.3m3/h | 1.2l/sec | Fair |
| 1h00 | 8h01mn | 30mn | 6m24 |  |  | Fair |
|  | 8h02mn | 40mn | 6m25 |  |  | Fair |
|  | 8h03mn | 50mn | 6m26 |  |  | Fair |
|  | 8h04mn | 60mn | 6m27 |  |  | Fair |
|  | 8h05mn | 70mn | 6m28 |  |  | Fair |
|  | 8h06mn | 80mn | 6m29 |  |  | Fair |
|  | 8h07mn | 90mn | 6m30 |  |  | Fair |
|  | 8h08mn | 100mn | 6m60 |  |  | Fair |
|  | 8h10mn | 110mn | 6m61 |  |  | Fair |
|  | 8h50mn | 120mn | 6m62 |  |  | Fair |
| 2hrs | 9h00mn | 130mn | 25m00 | 4.3m3/h |  | Fair |
|  | 9h20mn | 140mn | 25m15 |  |  | Clean |
|  | 9h45mn | 150mn | 25m19 |  |  | Clean |
|  | 9h55mn | 160mn | 25m25 |  |  | Clean |
| 3hrs | 10h02mn | 170mn | 25m40 | 4.3m3/h |  | Clean |

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 1/02/2016 |  | Well | 60m |  |  |  |
|  |  |  | (m) | (m3/h) | (l/s) |  |
|  |  | Swim |  |  | 1.2l/s | Clean |
| 3hrs | 10hr:25mn | 180mn | 25m21 | 4.3m3/h |  | Clean |
|  | 10hr:30mn | 180mn | 25m21 |  |  | Clean |
|  | 10hr:35mn | 180mn | 25m21 |  |  | Clean |
|  | 10hr:38mn | 180mn | 25m21 |  |  | Clean |
|  | 10hr:45mn | 180mn | 25m21 |  |  | Clean |
| 4hrs | 11hr:30mn | 330mn | 27m.45 | 4.3m3/h |  | Clean |
|  | 11hr:35mn | 355mn | 30m.60 |  |  | Clean |
|  | 11hr:45mn | 395mn | 35m.50 |  |  | Clean |
|  | 11hr:55mn | 430mn | 40m.0 |  |  | Clean |
| 5hrs | 12hr:30mn | 450mn | 45m.20 | 4.3m3/h |  | Clean |
|  | 12hr:35mn | 465mn | 45m.22 |  |  | Clean |
|  | 12hr:45mn | 475mn | 45m.25 |  |  | Clean |
|  | 12hr:55mn | 485mn | 45m.30 |  |  | Clean |
| 6hrs | 13hr:10mn | 505mn | 45m.35 | 4.3m3/h |  | Clean |
|  | 13hr:35mn | 506mn | 45m.36 |  |  | Clean |
|  | 13hr:45mn | 507mn | 45m.40 |  |  | Clean |
|  | 13hr:58mn | 515mn | 45m.46 |  |  | Clean |
| 7hrs | 14hr:15mn | 537mn | 46m.00 | 4.3m3/h |  | Clean |
|  | 14hr:20mn | 557mn | 46m.00 |  |  | Clean |
|  | 14hr:25mn | 605mn | 46m.00 |  |  | Clean |
|  | 14hr:35mn | 640mn | 46m.00 |  |  | Clean |
|  | 14hr:40mn | 655mn | 46m.00 |  |  | Clean |
|  | 14hr:55mn | 670mn | 46m.00 |  |  | Clean |
| 8hrs | 15hr:05mn | 685mn | 48m.05 | 4.3m3/h |  | Clean |
|  | 15hr:25mn | 710mn | 47m.10 |  |  | Clean |
|  | 15hr:30mn | 715mn | 48m.0 |  |  | Clean |
|  | 15hr:40mn | 725mn | 40m,05 |  |  | Clean |
|  | 15hr:50mn | 735mn | 50m.0 |  |  | Clean |
|  | 15hr:55mn | 740mn | 51m.0 |  |  | Clean |
|  | 15hr:60mn | 745mn | 52m.0 |  |  | Clean |
| 9hrs | 16hr:15mn | 800mn | 53m05 | 4.3m3/h |  | Clean |
|  | 16hr:40mn | 840mn | 54m |  |  | Clean |
|  | 16hr:55mn | 850mn | 55m |  |  | Clean |
| 10hrs | 17hr:20mn | 875mn | 56m | 4.3m3/h |  | Clean |
|  | 17hr:30mn | 885mn | 57m |  |  | Clean |
|  | 17hr:55mn | 910mn | 58m |  |  | Clean |
| 11hrs | 18hr:15mn | 930mn | 59m | 4.3m3/h |  | Clean |
| 11hrs | 18hr:45mn | 960mn | 59m | 4.3m3/h |  | Clean |
|  | 18hr:60mn | 975mn | 59m |  |  | Clean |
| 12hr | 19hr:30mn | 1005mn | 60m | 4.3m3/h |  | Clean |
|  | 19hr:45mn | 1050mn | 60m |  |  |  |
|  | 19hr:60mn | 1064mn | 60m |  |  |  |

Submitted by:                                                          Prepared & Conducted by:

John Melvin Kuminah                                            Felix

Company Executive Secretary                               Technician

PROJECT: RURAL WATER SUPPLY AND SANITATION PROJECT

LOCATION: WOADEH, KONO DISTRICT

CLIENT: SALWACO & ADB

PUMP /RECOVERY TEST RESULT: 5.4m3/h

DEPTH: 75M

BOREHOLE No. 2

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 3/03/2016 | 13h30mn | Well | 60m |  |  |  |
|  |  | 25mn | (m) | (m3/h) | (l/s) |  |
| Start | 13h30mn | Swin | 6m22 | 5.4m3/h | 1.5l/sec | Fair |
| 1h00 | 13h01mn | 30mn | 6m24 |  |  | Fair |
|  | 13h02mn | 40mn | 6m25 |  |  | Fair |
|  | 13h03mn | 50mn | 6m26 |  |  | Fair |
|  | 13h04mn | 60mn | 6m27 |  |  | Fair |
|  | 13h05mn | 70mn | 6m28 |  |  | Fair |
|  | 13h06mn | 80mn | 6m29 |  |  | Fair |
|  | 13h07mn | 90mn | 6m30 |  |  | Fair |
|  | 13h08mn | 100mn | 6m60 |  |  | Fair |
|  | 13h10mn | 110mn | 6m61 |  |  | Fair |
|  | 13h50mn | 120mn | 6m62 |  |  | Fair |
| 2hrs | 14h00mn | 130mn | 25m00 | 5.4m3/h |  | Fair |
|  | 14h20mn | 140mn | 25m15 |  |  | Clean |
|  | 14h45mn | 150mn | 25m19 |  |  | Clean |
|  | 14h55mn | 160mn | 25m25 |  |  | Clean |
| 3hrs | 15h02mn | 170mn | 25m40 | 5.4m3/h |  | Clean |

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 3/03/2016 |  | Well | 60m |  |  |  |
|  |  |  | (m) | (m3/h) | (l/s) |  |
|  |  | Swim |  |  | 1.5l/s | Clean |
| 3hrs | 15hr:25mn | 180mn | 25m21 | 5.4m3/h |  | Clean |
|  | 15hr:30mn | 180mn | 25m21 | 5.4m3/h |  | Clean |
|  | 15hr:35mn | 180mn | 25m21 | 5.4m3/h |  | Clean |
|  | 15hr:38mn | 180mn | 25m21 | 5.4m3/h |  | Clean |
|  | 15hr:45mn | 180mn | 25m21 | 5.4m3/h |  | Clean |
| 4hrs | 16hr:30mn | 330mn | 27m.45 | 5.4m3/h |  | Clean |
|  | 16hr:35mn | 355mn | 30m.60 | 5.4m3/h |  | Clean |
|  | 16hr:45mn | 395mn | 35m.50 | 5.4m3/h |  | Clean |
|  | 16hr:55mn | 430mn | 40m.0 | 5.4m3/h |  | Clean |
| 5hrs | 17hr:30mn | 450mn | 45m.20 | 5.4m3/h |  | Clean |
|  | 17hr:35mn | 465mn | 45m.22 | 5.4m3/h |  | Clean |
|  | 17hr:45mn | 475mn | 45m.25 | 5.4m3/h |  | Clean |
|  | 17hr:55mn | 485mn | 45m.30 | 5.4m3/h |  | Clean |
| 6hrs | 18hr:10mn | 505mn | 45m.35 | 5.4m3/h |  | Clean |
|  | 18hr:35mn | 506mn | 45m.36 | 5.4m3/h |  | Clean |
|  | 18hr:45mn | 507mn | 45m.40 | 5.4m3/h |  | Clean |
|  | 18hr:58mn | 515mn | 45m.46 | 5.4m3/h |  | Clean |
| 7hrs | 19hr:15mn | 537mn | 46m.00 | 5.4m3/h |  | Clean |
|  | 19hr:20mn | 557mn | 46m.00 | 5.4m3/h |  | Clean |
|  | 19hr:25mn | 605mn | 46m.00 | 5.4m3/h |  | Clean |
|  | 19hr:35mn | 640mn | 46m.00 | 5.4m3/h |  | Clean |
|  | 19hr:40mn | 655mn | 46m.00 | 5.4m3/h |  | Clean |
|  | 19hr:55mn | 670mn | 46m.00 | 5.4m3/h |  | Clean |
| 8hrs | 20hr:05mn | 685mn | 48m.05 | 5.4m3/h |  | Clean |
|  | 20hr:25mn | 710mn | 47m.10 | 5.4m3/h |  | Clean |
|  | 20hr:30mn | 715mn | 48m.0 | 5.4m3/h |  | Clean |
|  | 20hr:40mn | 725mn | 40m,05 | 5.4m3/h |  | Clean |
|  | 20hr:50mn | 735mn | 50m.0 | 5.4m3/h |  | Clean |
|  | 20hr:55mn | 740mn | 51m.0 | 5.4m3/h |  | Clean |
|  | 20hr:60mn | 745mn | 52m.0 | 5.4m3/h |  | Clean |
| 9hrs | 21hr:15mn | 800mn | 53m05 | 5.4m3/h |  | Clean |
|  | 21hr:40mn | 840mn | 54m | 5.4m3/h |  | Clean |
|  | 21hr:55mn | 850mn | 55m | 5.4m3/h |  | Clean |
| 10hrs | 22hr:20mn | 875mn | 56m | 5.4m3/h |  | Clean |
|  | 22hr:30mn | 885mn | 57m | 5.4m3/h |  | Clean |
|  | 22hr:55mn | 910mn | 58m | 5.4m3/h |  | Clean |
| 11hrs | 23hr:15mn | 930mn | 59m | 5.4m3/h |  | Clean |
| 11hrs | 23hr:45mn | 960mn | 59m | 5.4m3/h |  | Clean |
|  | 23hr:60mn | 975mn | 59m | 5.4m3/h |  | Clean |
| Date | Time |  | Water level | 5.4m3/h |  | Comment |
| 4/03/2016 |  | Well | 60m | 5.4m3/h |  |  |
| 12hr | 00hr:30mn | 1005mn | 60m | 5.4m3/h |  | Clean |
|  | 00hr:45mn | 1050mn | 60m | 5.4m3/h |  | Clean |
|  | 01hr:00mn | 1060mn | 60m | 5.4m3/h |  | Clean |
|  | 01hr:30mn | 1090mn | 60m |  |  | Clean |

Submitted by:                                                          Prepared & Conducted by:

John Melvin Kuminah                                            Felix

Company Executive Secretary                               Technician

PROJECT: RURAL WATER SUPPLY AND SANITATION PROJECT

LOCATION: Chief's Compound (Bumpeh), KONO DISTRICT

CLIENT: SALWACO & ADB

PUMP /RECOVERY TEST RESULT: 4.3m3/h

DEPTH: 60M

BOREHOLE No. 3

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 23/02/2016 | 8h00mn | Well | 60m |  |  |  |
|  |  | 25mn | (m) | (m3/h) | (l/s) |  |
| Start | 8h00mn | Swin | 6m22 | 4.3m3/h | 1.2l/sec | Fair |
| 1h00 | 8h01mn | 30mn | 6m24 |  |  | Fair |
|  | 8h02mn | 40mn | 6m25 |  |  | Fair |
|  | 8h03mn | 50mn | 6m26 |  |  | Fair |
|  | 8h04mn | 60mn | 6m27 |  |  | Fair |
|  | 8h05mn | 70mn | 6m28 |  |  | Fair |
|  | 8h06mn | 80mn | 6m29 |  |  | Fair |
|  | 8h07mn | 90mn | 6m30 |  |  | Fair |
|  | 8h08mn | 100mn | 6m60 |  |  | Fair |
|  | 8h10mn | 110mn | 6m61 |  |  | Fair |
|  | 8h50mn | 120mn | 6m62 |  |  | Fair |
| 2hrs | 9h00mn | 130mn | 25m00 | 4.3m3/h |  | Fair |
|  | 9h20mn | 140mn | 25m15 |  |  | Clean |
|  | 9h45mn | 150mn | 25m19 |  |  | Clean |
|  | 9h55mn | 160mn | 25m25 |  |  | Clean |
| 3hrs | 10h02mn | 170mn | 25m40 | 4.3m3/h |  | Clean |

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 1/02/2016 |  | Well | 169m |  |  |  |
|  |  |  | (m) | (m3/h) | (l/s) |  |
|  |  | Swim |  |  | 1.2l/s | Clean |
| 3hrs | 10hr:25mn | 180mn | 25m21 | 4.3m3/h |  | Clean |
|  | 10hr:30mn | 180mn | 25m21 |  |  | Clean |
|  | 10hr:35mn | 180mn | 25m21 |  |  | Clean |
|  | 10hr:38mn | 180mn | 25m21 |  |  | Clean |
|  | 10hr:45mn | 180mn | 25m21 |  |  | Clean |
| 4hrs | 11hr:30mn | 330mn | 27m.45 | 4.3m3/h |  | Clean |
|  | 11hr:35mn | 355mn | 30m.60 |  |  | Clean |
|  | 11hr:45mn | 395mn | 35m.50 |  |  | Clean |
|  | 11hr:55mn | 430mn | 40m.0 |  |  | Clean |
| 5hrs | 12hr:30mn | 450mn | 45m.20 | 4.3m3/h |  | Clean |
|  | 12hr:35mn | 465mn | 45m.22 |  |  | Clean |
|  | 12hr:45mn | 475mn | 45m.25 |  |  | Clean |
|  | 12hr:55mn | 485mn | 45m.30 |  |  | Clean |
| 6hrs | 13hr:10mn | 505mn | 45m.35 | 4.3m3/h |  | Clean |
|  | 13hr:35mn | 506mn | 45m.36 |  |  | Clean |
|  | 13hr:45mn | 507mn | 45m.40 |  |  | Clean |
|  | 13hr:58mn | 515mn | 45m.46 |  |  | Clean |
| 7hrs | 14hr:15mn | 537mn | 46m.00 | 4.3m3/h |  | Clean |
|  | 14hr:20mn | 557mn | 46m.00 |  |  | Clean |
|  | 14hr:25mn | 605mn | 46m.00 |  |  | Clean |
|  | 14hr:35mn | 640mn | 46m.00 |  |  | Clean |
|  | 14hr:40mn | 655mn | 46m.00 |  |  | Clean |
|  | 14hr:55mn | 670mn | 46m.00 |  |  | Clean |
| 8hrs | 15hr:05mn | 685mn | 48m.05 | 4.3m3/h |  | Clean |
|  | 15hr:25mn | 710mn | 47m.10 |  |  | Clean |
|  | 15hr:30mn | 715mn | 48m.0 |  |  | Clean |
|  | 15hr:40mn | 725mn | 40m,05 |  |  | Clean |
|  | 15hr:50mn | 735mn | 50m.0 |  |  | Clean |
|  | 15hr:55mn | 740mn | 51m.0 |  |  | Clean |
|  | 15hr:60mn | 745mn | 52m.0 |  |  | Clean |
| 9hrs | 16hr:15mn | 800mn | 53m05 | 4.3m3/h |  | Clean |
|  | 16hr:40mn | 840mn | 54m |  |  | Clean |
|  | 16hr:55mn | 850mn | 55m |  |  | Clean |
| 10hrs | 17hr:20mn | 875mn | 56m | 4.3m3/h |  | Clean |
|  | 17hr:30mn | 885mn | 57m |  |  | Clean |
|  | 17hr:55mn | 910mn | 58m |  |  | Clean |
| 11hrs | 18hr:15mn | 930mn | 59m | 4.3m3/h |  | Clean |
| 11hrs | 18hr:45mn | 960mn | 59m | 4.3m3/h |  | Clean |
|  | 18hr:60mn | 975mn | 59m |  |  | Clean |
| 12hr | 19hr:30mn | 1005mn | 60m | 4.3m3/h |  | Clean |

Submitted by:                                                          Prepared & Conducted by:

John Melvin Kuminah                                            Felix

Company Executive Secretary                               Technician

PROJECT: RURAL WATER SUPPLY AND SANITATION PROJECT

LOCATION: Simbakoro (Army Barracks) KONO DISTRICT

CLIENT: SALWACO & ADB

PUMP /RECOVERY TEST RESULT: 4.3m3/h

DEPTH: 60M

BOREHOLE No. 4 HAND PUMP

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 21/03/2016 | 07h50mn | Well | 60m |  |  |  |
|  |  | 25mn | (m) | (m3/h) | (l/s) |  |
| Start | 08h0mn | Swin | 6m22 | 4.3m3/h | 1.2l/sec | Fair |
| 1h00 | 8h00mn | 30mn | 6m24 |  |  | Fair |
|  | 8h01mn | 40mn | 6m25 |  |  | Fair |
|  | 8h02mn | 50mn | 6m26 |  |  | Fair |
|  | 8h03mn | 60mn | 6m27 |  |  | Fair |
|  | 8h04mn | 70mn | 6m28 |  |  | Fair |
|  | 8h05mn | 80mn | 6m29 |  |  | Fair |
|  | 8h06mn | 90mn | 6m30 |  |  | Fair |
|  | 8h07mn | 100mn | 6m60 |  |  | Fair |
|  | 8h08mn | 110mn | 6m61 |  |  | Fair |
|  | 8h10mn | 120mn | 6m62 |  |  | Fair |
| 2hrs | 8h50mn | 130mn | 25m00 | 4.3m3/h |  | Fair |
|  | 9h00mn | 140mn | 25m15 |  |  | Clean |
|  | 9h20mn | 150mn | 25m19 |  |  | Clean |
|  | 9h45mn | 160mn | 25m25 |  |  | Clean |
| 3hrs | 9h55mn | 170mn | 25m40 | 4.3m3/h |  | Clean |

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 1/02/2016 |  | Well | 169m |  |  |  |
|  |  |  | (m) | (m3/h) | (l/s) |  |
|  |  | Swim |  |  | 1.2l/s | Clean |
| 3hrs | 10hr:25mn | 180mn | 25m21 | 4.3m3/h |  | Clean |
|  | 10hr:30mn | 180mn | 25m21 |  |  | Clean |
|  | 10hr:35mn | 180mn | 25m21 |  |  | Clean |
|  | 10hr:38mn | 180mn | 25m21 |  |  | Clean |
|  | 10hr:45mn | 180mn | 25m21 |  |  | Clean |
| 4hrs | 11hr:30mn | 330mn | 27m.45 | 4.3m3/h |  | Clean |
|  | 11hr:35mn | 355mn | 30m.60 |  |  | Clean |
|  | 11hr:45mn | 395mn | 35m.50 |  |  | Clean |
|  | 11hr:55mn | 430mn | 40m.0 |  |  | Clean |
| 5hrs | 12hr:30mn | 450mn | 45m.20 | 4.3m3/h |  | Clean |
|  | 12hr:35mn | 465mn | 45m.22 |  |  | Clean |
|  | 12hr:45mn | 475mn | 45m.25 |  |  | Clean |
|  | 12hr:55mn | 485mn | 45m.30 |  |  | Clean |
| 6hrs | 13hr:10mn | 505mn | 45m.35 | 4.3m3/h |  | Clean |
|  | 13hr:35mn | 506mn | 45m.36 |  |  | Clean |
|  | 13hr:45mn | 507mn | 45m.40 |  |  | Clean |
|  | 13hr:58mn | 515mn | 45m.46 |  |  | Clean |
| 7hrs | 14hr:15mn | 537mn | 46m.00 | 4.3m3/h |  | Clean |
|  | 14hr:20mn | 557mn | 46m.00 |  |  | Clean |
|  | 14hr:25mn | 605mn | 46m.00 |  |  | Clean |
|  | 14hr:35mn | 640mn | 46m.00 |  |  | Clean |
|  | 14hr:40mn | 655mn | 46m.00 |  |  | Clean |
|  | 14hr:55mn | 670mn | 46m.00 |  |  | Clean |
| 8hrs | 15hr:05mn | 685mn | 48m.05 | 4.3m3/h |  | Clean |
|  | 15hr:25mn | 710mn | 47m.10 |  |  | Clean |
|  | 15hr:30mn | 715mn | 48m.0 |  |  | Clean |
|  | 15hr:40mn | 725mn | 40m,05 |  |  | Clean |
|  | 15hr:50mn | 735mn | 50m.0 |  |  | Clean |
|  | 15hr:55mn | 740mn | 51m.0 |  |  | Clean |
|  | 15hr:60mn | 745mn | 52m.0 |  |  | Clean |
| 9hrs | 16hr:15mn | 800mn | 53m05 | 4.3m3/h |  | Clean |
|  | 16hr:40mn | 840mn | 54m |  |  | Clean |
|  | 16hr:55mn | 850mn | 55m |  |  | Clean |
| 10hrs | 17hr:20mn | 875mn | 56m | 4.3m3/h |  | Clean |
|  | 17hr:30mn | 885mn | 57m |  |  | Clean |
|  | 17hr:55mn | 910mn | 58m |  |  | Clean |
| 11hrs | 18hr:15mn | 930mn | 59m | 4.3m3/h |  | Clean |
| 11hrs | 18hr:45mn | 960mn | 59m | 4.3m3/h |  | Clean |
|  | 18hr:60mn | 975mn | 59m |  |  | Clean |
| 12hr | 19hr:30mn | 1005mn | 60m | 4.3m3/h |  | Clean |

Submitted by:                                                          Prepared & Conducted by:

John Melvin Kuminah                                            Felix

Company Executive Secretary                               Technician

PROJECT: RURAL WATER SUPPLY AND SANITATION PROJECT

LOCATION: Quidadu,KONO DISTRICT

CLIENT: SALWACO & ADB

PUMP /RECOVERY TEST RESULT: 4.3m3/h

DEPTH: 60M

BOREHOLE No. 5

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 18/03/2016 | 17h00mn | Well | 60m |  |  |  |
|  |  | 25mn | (m) | (m3/h) | (l/s) |  |
| Start | 17h00mn | Swin | 6m22 | 4.3m3/h | 1.2l/sec | Fair |
| 1h00 | 17h01mn | 30mn | 6m24 |  |  | Fair |
|  | 17h02mn | 40mn | 6m25 |  |  | Fair |
|  | 17h03mn | 50mn | 6m26 |  |  | Fair |
|  | 17h04mn | 60mn | 6m27 |  |  | Fair |
|  | 17h05mn | 70mn | 6m28 |  |  | Fair |
|  | 17h06mn | 80mn | 6m29 |  |  | Fair |
|  | 17h07mn | 90mn | 6m30 |  |  | Fair |
|  | 17h08mn | 100mn | 6m60 |  |  | Fair |
|  | 17h10mn | 110mn | 6m61 |  |  | Fair |
|  | 17h50mn | 120mn | 6m62 |  |  | Fair |
| 2hrs | 18h00mn | 130mn | 25m00 | 4.3m3/h |  | Fair |
|  | 18h20mn | 140mn | 25m15 |  |  | Clean |
|  | 18h45mn | 150mn | 25m19 |  |  | Clean |
|  | 18h55mn | 160mn | 25m25 |  |  | Clean |
| 3hrs | 19h02mn | 170mn | 25m40 | 4.3m3/h |  | Clean |

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 18/03/2016 |  | Well | 169m |  |  |  |
|  |  |  | (m) | (m3/h) | (l/s) |  |
|  |  | Swim |  |  | 1.2l/s | Clean |
| 3hrs | 19hr:25mn | 180mn | 25m21 | 4.3m3/h |  | Clean |
|  | 19hr:30mn | 180mn | 25m21 |  |  | Clean |
|  | 19hr:35mn | 180mn | 25m21 |  |  | Clean |
|  | 19hr:38mn | 180mn | 25m21 |  |  | Clean |
|  | 19hr:45mn | 180mn | 25m21 |  |  | Clean |
| 4hrs | 20hr:30mn | 330mn | 27m.45 | 4.3m3/h |  | Clean |
|  | 20hr:35mn | 355mn | 30m.60 |  |  | Clean |
|  | 20hr:45mn | 395mn | 35m.50 |  |  | Clean |
|  | 20hr:55mn | 430mn | 40m.0 |  |  | Clean |
| 5hrs | 21hr:30mn | 450mn | 45m.20 | 4.3m3/h |  | Clean |
|  | 21hr:35mn | 465mn | 45m.22 |  |  | Clean |
|  | 21hr:45mn | 475mn | 45m.25 |  |  | Clean |
|  | 21hr:55mn | 485mn | 45m.30 |  |  | Clean |
| 6hrs | 22hr:10mn | 505mn | 45m.35 | 4.3m3/h |  | Clean |
|  | 22hr:35mn | 506mn | 45m.36 |  |  | Clean |
|  | 22hr:45mn | 507mn | 45m.40 |  |  | Clean |
|  | 22hr:58mn | 515mn | 45m.46 |  |  | Clean |
| 7hrs | 23hr:15mn | 537mn | 46m.00 | 4.3m3/h |  | Clean |
|  | 23hr:20mn | 557mn | 46m.00 |  |  | Clean |
|  | 23hr:25mn | 605mn | 46m.00 |  |  | Clean |
|  | 23hr:35mn | 640mn | 46m.00 |  |  | Clean |
|  | 23hr:40mn | 655mn | 46m.00 |  |  | Clean |
|  | 23hr:55mn | 670mn | 46m.00 |  |  | Clean |
| Date | Time |  | Water level | Quantity |  | Comment |
| 18/03/2016 |  | Well | 60m |  |  |  |
| 8hrs | 00hr:05mn | 685mn | 48m.05 | 4.3m3/h |  | Clean |
|  | 00hr:25mn | 710mn | 47m.10 |  |  | Clean |
|  | 00hr:30mn | 715mn | 48m.0 |  |  | Clean |
|  | 00hr:40mn | 725mn | 40m,05 |  |  | Clean |
|  | 00hr:50mn | 735mn | 50m.0 |  |  | Clean |
|  | 00hr:55mn | 740mn | 51m.0 |  |  | Clean |
|  | 00hr:60mn | 745mn | 52m.0 |  |  | Clean |
| 9hrs | 01hr:15mn | 800mn | 53m05 | 4.3m3/h |  | Clean |
|  | 01hr:40mn | 840mn | 54m |  |  | Clean |
|  | 01hr:55mn | 850mn | 55m |  |  | Clean |
| 10hrs | 02hr:20mn | 875mn | 56m | 4.3m3/h |  | Clean |
|  | 02hr:30mn | 885mn | 57m |  |  | Clean |
|  | 02hr:55mn | 910mn | 58m |  |  | Clean |
| 11hrs | 03hr:15mn | 930mn | 59m | 4.3m3/h |  | Clean |
| 11hrs | 03hr:45mn | 960mn | 59m | 4.3m3/h |  | Clean |
|  | 03hr:60mn | 975mn | 59m |  |  | Clean |
| 12hr | 04hr:30mn | 1005mn | 60m | 4.3m3/h |  | Clean |
|  | 04hr:55mn | 1030mn | 60m |  |  |  |
|  | 05hr:00 | 1035mn | 60m |  |  |  |

Submitted by:                                                          Prepared & Conducted by:

John Melvin Kuminah                                            Felix

Company Executive Secretary                               Technician

PROJECT: RURAL WATER SUPPLY AND SANITATION PROJECT

LOCATION: Manyin Town,KONO DISTRICT

CLIENT: SALWACO & ADB

PUMP /RECOVERY TEST RESULT: 4.3m3/h

DEPTH: 60M

BOREHOLE No. 6

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 14/03/2016 | 15h28mn | Well | 60m |  |  |  |
|  |  | 25mn | (m) | (m3/h) | (l/s) |  |
| Start | 15h28mn | Swin | 6m22 | 4.3m3/h | 1.2l/sec | Fair |
| 1h00 | 15h01mn | 30mn | 6m24 |  |  | Fair |
|  | 15h02mn | 40mn | 6m25 |  |  | Fair |
|  | 15h03mn | 50mn | 6m26 |  |  | Fair |
|  | 15h04mn | 60mn | 6m27 |  |  | Fair |
|  | 15h05mn | 70mn | 6m28 |  |  | Fair |
|  | 15h06mn | 80mn | 6m29 |  |  | Fair |
|  | 15h07mn | 90mn | 6m30 |  |  | Fair |
|  | 15h08mn | 100mn | 6m60 |  |  | Fair |
|  | 15h10mn | 110mn | 6m61 |  |  | Fair |
|  | 15h50mn | 120mn | 6m62 |  |  | Fair |
| 2hrs | 16h00mn | 130mn | 25m00 | 4.3m3/h |  | Fair |
|  | 16h20mn | 140mn | 25m15 |  |  | Clean |
|  | 16h45mn | 150mn | 25m19 |  |  | Clean |
|  | 16h55mn | 160mn | 25m25 |  |  | Clean |
| 3hrs | 17h02mn | 170mn | 25m40 | 4.3m3/h |  | Clean |

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 14/03/2016 |  | Well | 169m |  |  |  |
|  |  |  | (m) | (m3/h) | (l/s) |  |
|  |  | Swim |  |  | 1.2l/s | Clean |
| 3hrs | 17hr:25mn | 180mn | 25m21 | 4.3m3/h |  | Clean |
|  | 17hr:30mn | 180mn | 25m21 |  |  | Clean |
|  | 17hr:35mn | 180mn | 25m21 |  |  | Clean |
|  | 17hr:38mn | 180mn | 25m21 |  |  | Clean |
|  | 17hr:45mn | 180mn | 25m21 |  |  | Clean |
| 4hrs | 18hr:30mn | 330mn | 27m.45 | 4.3m3/h |  | Clean |
|  | 18hr:35mn | 355mn | 30m.60 |  |  | Clean |
|  | 18hr:45mn | 395mn | 35m.50 |  |  | Clean |
|  | 18hr:55mn | 430mn | 40m.0 |  |  | Clean |
| 5hrs | 19hr:30mn | 450mn | 45m.20 | 4.3m3/h |  | Clean |
|  | 19hr:35mn | 465mn | 45m.22 |  |  | Clean |
|  | 19hr:45mn | 475mn | 45m.25 |  |  | Clean |
|  | 19hr:55mn | 485mn | 45m.30 |  |  | Clean |
| 6hrs | 20hr:10mn | 505mn | 45m.35 | 4.3m3/h |  | Clean |
|  | 20hr:35mn | 506mn | 45m.36 |  |  | Clean |
|  | 20hr:45mn | 507mn | 45m.40 |  |  | Clean |
|  | 20hr:58mn | 515mn | 45m.46 |  |  | Clean |
| 7hrs | 21hr:15mn | 537mn | 46m.00 | 4.3m3/h |  | Clean |
|  | 21hr:20mn | 557mn | 46m.00 |  |  | Clean |
|  | 21hr:25mn | 605mn | 46m.00 |  |  | Clean |
|  | 21hr:35mn | 640mn | 46m.00 |  |  | Clean |
|  | 21hr:40mn | 655mn | 46m.00 |  |  | Clean |
|  | 21hr:55mn | 670mn | 46m.00 |  |  | Clean |
| 8hrs | 22hr:05mn | 685mn | 48m.05 | 4.3m3/h |  | Clean |
|  | 22hr:25mn | 710mn | 47m.10 |  |  | Clean |
|  | 22hr:30mn | 715mn | 48m.0 |  |  | Clean |
|  | 22hr:40mn | 725mn | 40m,05 |  |  | Clean |
|  | 22hr:50mn | 735mn | 50m.0 |  |  | Clean |
|  | 22hr:55mn | 740mn | 51m.0 |  |  | Clean |
|  | 22hr:60mn | 745mn | 52m.0 |  |  | Clean |
| 9hrs | 23hr:15mn | 800mn | 53m05 | 4.3m3/h |  | Clean |
|  | 23hr:40mn | 840mn | 54m |  |  | Clean |
|  | 23hr:55mn | 850mn | 55m |  |  | Clean |
| 15/03/2016 |  |  |  |  |  |  |
| 10hrs | 00hr:20mn | 875mn | 56m | 4.3m3/h |  | Clean |
|  | 00hr:30mn | 885mn | 57m |  |  | Clean |
|  | 00hr:55mn | 910mn | 58m |  |  | Clean |
| 11hrs | 01hr:15mn | 930mn | 59m | 4.3m3/h |  | Clean |
| 11hrs | 01hr:45mn | 960mn | 59m | 4.3m3/h |  | Clean |
|  | 01hr:60mn | 975mn | 59m |  |  | Clean |
| 12hr | 02hr:51mn | 1026mn | 60m | 4.3m3/h |  | Clean |

Submitted by:                                                          Prepared & Conducted by:

John Melvin Kuminah                                            Felix

Company Executive Secretary                               Technician

PROJECT: RURAL WATER SUPPLY AND SANITATION PROJECT

LOCATION: Ngaiya Junction,KONO DISTRICT

CLIENT: SALWACO & ADB

PUMP /RECOVERY TEST RESULT: 4.3m3/h

DEPTH: 60M

BOREHOLE No. 7

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 24/02/2016 | 12h00mn | Well | 60m |  |  |  |
|  |  | 25mn | (m) | (m3/h) | (l/s) |  |
| Start | 12h00mn | Swin | 6m22 | 4.3m3/h | 1.2l/sec | Fair |
| 1h00 | 12h01mn | 30mn | 6m24 |  |  | Fair |
|  | 12h02mn | 40mn | 6m25 |  |  | Fair |
|  | 12h03mn | 50mn | 6m26 |  |  | Fair |
|  | 12h04mn | 60mn | 6m27 |  |  | Fair |
|  | 12h05mn | 70mn | 6m28 |  |  | Fair |
|  | 12h06mn | 80mn | 6m29 |  |  | Fair |
|  | 12h07mn | 90mn | 6m30 |  |  | Fair |
|  | 12h08mn | 100mn | 6m60 |  |  | Fair |
|  | 12h10mn | 110mn | 6m61 |  |  | Fair |
|  | 12h50mn | 120mn | 6m62 |  |  | Fair |
| 2hrs | 13h00mn | 130mn | 25m00 | 4.3m3/h |  | Fair |
|  | 13h20mn | 140mn | 25m15 |  |  | Clean |
|  | 13h45mn | 150mn | 25m19 |  |  | Clean |
|  | 13h55mn | 160mn | 25m25 |  |  | Clean |
| 3hrs | 14h02mn | 170mn | 25m40 | 4.3m3/h |  | Clean |

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 24/03/2016 |  | Well | 169m |  |  |  |
|  |  |  | (m) | (m3/h) | (l/s) |  |
|  |  | Swim |  |  | 1.2l/s | Clean |
| 3hrs | 14hr:25mn | 180mn | 25m21 | 4.3m3/h |  | Clean |
|  | 14hr:30mn | 180mn | 25m21 |  |  | Clean |
|  | 14hr:35mn | 180mn | 25m21 |  |  | Clean |
|  | 14hr:38mn | 180mn | 25m21 |  |  | Clean |
|  | 14hr:45mn | 180mn | 25m21 |  |  | Clean |
| 4hrs | 15hr:30mn | 330mn | 27m.45 | 4.3m3/h |  | Clean |
|  | 15hr:35mn | 355mn | 30m.60 |  |  | Clean |
|  | 15hr:45mn | 395mn | 35m.50 |  |  | Clean |
|  | 15hr:55mn | 430mn | 40m.0 |  |  | Clean |
| 5hrs | 16hr:30mn | 450mn | 45m.20 | 4.3m3/h |  | Clean |
|  | 16hr:35mn | 465mn | 45m.22 |  |  | Clean |
|  | 16hr:45mn | 475mn | 45m.25 |  |  | Clean |
|  | 16hr:55mn | 485mn | 45m.30 |  |  | Clean |
| 6hrs | 17hr:10mn | 505mn | 45m.35 | 4.3m3/h |  | Clean |
|  | 17hr:35mn | 506mn | 45m.36 |  |  | Clean |
|  | 17hr:45mn | 507mn | 45m.40 |  |  | Clean |
|  | 17hr:58mn | 515mn | 45m.46 |  |  | Clean |
| 7hrs | 18hr:15mn | 537mn | 46m.00 | 4.3m3/h |  | Clean |
|  | 18hr:20mn | 557mn | 46m.00 |  |  | Clean |
|  | 18hr:25mn | 605mn | 46m.00 |  |  | Clean |
|  | 18hr:35mn | 640mn | 46m.00 |  |  | Clean |
|  | 18hr:40mn | 655mn | 46m.00 |  |  | Clean |
|  | 18hr:55mn | 670mn | 46m.00 |  |  | Clean |
| 8hrs | 19hr:05mn | 685mn | 48m.05 | 4.3m3/h |  | Clean |
|  | 19hr:25mn | 710mn | 47m.10 |  |  | Clean |
|  | 19hr:30mn | 715mn | 48m.0 |  |  | Clean |
|  | 19hr:40mn | 725mn | 40m,05 |  |  | Clean |
|  | 19hr:50mn | 735mn | 50m.0 |  |  | Clean |
|  | 19hr:55mn | 740mn | 51m.0 |  |  | Clean |
|  | 19hr:60mn | 745mn | 52m.0 |  |  | Clean |
| 9hrs | 20hr:15mn | 800mn | 53m05 | 4.3m3/h |  | Clean |
|  | 20hr:40mn | 840mn | 54m |  |  | Clean |
|  | 20hr:55mn | 850mn | 55m |  |  | Clean |
| 10hrs | 21hr:20mn | 875mn | 56m | 4.3m3/h |  | Clean |
|  | 21hr:30mn | 885mn | 57m |  |  | Clean |
|  | 21hr:55mn | 910mn | 58m |  |  | Clean |
| 11hrs | 22hr:15mn | 930mn | 59m | 4.3m3/h |  | Clean |
| 11hrs | 22hr:45mn | 960mn | 59m | 4.3m3/h |  | Clean |
|  | 22hr:55mn | 975mn | 59m |  |  | Clean |
| 12hr | 23hr:30mn | 1005mn | 60m | 4.3m3/h |  | Clean |
|  | 23hr:55mn | 1060mn | 60m |  |  |  |
| 25/03/16 | 00hr:00mn | 1065mn | 60m |  |  |  |

Submitted by:                                                          Prepared & Conducted by:

John Melvin Kuminah                                            Felix

Company Executive Secretary                               Technician

PROJECT: RURAL WATER SUPPLY AND SANITATION PROJECT

LOCATION: YSS Campus,KONO DISTRICT

CLIENT: SALWACO & ADB

PUMP /RECOVERY TEST RESULT: 4.3m3/h

DEPTH: 60M

BOREHOLE No. 8

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 12/03/2016 | 11h00mn | Well | 60m |  |  |  |
|  |  | 25mn | (m) | (m3/h) | (l/s) |  |
| Start | 11h00mn | Swin | 6m22 | 4.3m3/h | 1.2l/sec | Fair |
| 1h00 | 11h01mn | 30mn | 6m24 |  |  | Fair |
|  |  | 40mn | 6m25 |  |  | Fair |
|  |  | 50mn | 6m26 |  |  | Fair |
|  |  | 60mn | 6m27 |  |  | Fair |
|  |  | 70mn | 6m28 |  |  | Fair |
|  |  | 80mn | 6m29 |  |  | Fair |
|  |  | 90mn | 6m30 |  |  | Fair |
|  |  | 100mn | 6m60 |  |  | Fair |
|  |  | 110mn | 6m61 |  |  | Fair |
|  |  | 120mn | 6m62 |  |  | Fair |
| 2hrs | 12h00mn | 130mn | 25m00 | 4.3m3/h |  | Fair |
|  |  | 140mn | 25m15 |  |  | Clean |
|  |  | 150mn | 25m19 |  |  | Clean |
|  |  | 160mn | 25m25 |  |  | Clean |
| 3hrs | 13h02mn | 170mn | 25m40 | 4.3m3/h |  | Clean |

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 12/03/2016 |  | Well | 169m |  |  |  |
|  |  |  | (m) | (m3/h) | (l/s) |  |
|  |  | Swim |  |  | 1.2l/s | Clean |
| 3hrs | 13hr:25mn | 180mn | 25m21 | 4.3m3/h |  | Clean |
|  |  | 180mn | 25m21 |  |  | Clean |
|  |  | 180mn | 25m21 |  |  | Clean |
|  |  | 180mn | 25m21 |  |  | Clean |
|  |  | 180mn | 25m21 |  |  | Clean |
| 4hrs | 14hr:30mn | 330mn | 27m.45 | 4.3m3/h |  | Clean |
|  |  | 355mn | 30m.60 |  |  | Clean |
|  |  | 395mn | 35m.50 |  |  | Clean |
|  |  | 430mn | 40m.0 |  |  | Clean |
| 5hrs | 15hr:30mn | 450mn | 45m.20 | 4.3m3/h |  | Clean |
|  |  | 465mn | 45m.22 |  |  | Clean |
|  |  | 475mn | 45m.25 |  |  | Clean |
|  |  | 485mn | 45m.30 |  |  | Clean |
| 6hrs | 16hr:10mn | 505mn | 45m.35 | 4.3m3/h |  | Clean |
|  |  | 506mn | 45m.36 |  |  | Clean |
|  |  | 507mn | 45m.40 |  |  | Clean |
|  |  | 515mn | 45m.46 |  |  | Clean |
| 7hrs | 17hr:15mn | 537mn | 46m.00 | 4.3m3/h |  | Clean |
|  |  | 557mn | 46m.00 |  |  | Clean |
|  |  | 605mn | 46m.00 |  |  | Clean |
|  |  | 640mn | 46m.00 |  |  | Clean |
|  |  | 655mn | 46m.00 |  |  | Clean |
|  |  | 670mn | 46m.00 |  |  | Clean |
| 8hrs | 18hr:25mn | 685mn | 48m.05 | 4.3m3/h |  | Clean |
|  |  | 710mn | 47m.10 |  |  | Clean |
|  |  | 715mn | 48m.0 |  |  | Clean |
|  |  | 725mn | 40m,05 |  |  | Clean |
|  |  | 735mn | 50m.0 |  |  | Clean |
|  |  | 740mn | 51m.0 |  |  | Clean |
|  |  | 745mn | 52m.0 |  |  | Clean |
| 9hrs | 19hr:15mn | 800mn | 53m05 | 4.3m3/h |  | Clean |
|  |  | 840mn | 54m |  |  | Clean |
|  |  | 850mn | 55m |  |  | Clean |
| 10hrs | 20hr:25mn | 875mn | 56m | 4.3m3/h |  | Clean |
|  |  | 885mn | 57m |  |  | Clean |
|  |  | 910mn | 58m |  |  | Clean |
| 11hrs | 21hr:20mn | 930mn | 59m | 4.3m3/h |  | Clean |
| 11hrs |  | 960mn | 59m | 4.3m3/h |  | Clean |
|  |  | 975mn | 59m |  |  | Clean |
| 12hr | 22hr:30mn | 1005mn | 60m | 4.3m3/h |  | Clean |
|  | 22hr:55mn | 1060mn | 60m |  |  |  |
|  | 23hr:50mn | 1110mn | 60m |  |  |  |

Submitted by:                                                          Prepared & Conducted by:

John Melvin Kuminah                                            Felix

Company Executive Secretary                               Technician

PROJECT: RURAL WATER SUPPLY AND SANITATION PROJECT

LOCATION: Tembedu, KONO DISTRICT

CLIENT: SALWACO & ADB

PUMP /RECOVERY TEST RESULT: 4.3m3/h

DEPTH: 50M

BOREHOLE No. 9 HAND PUMP

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 23/04/2016 | 08h00mn | Well | 60m |  |  |  |
|  |  | 25mn | (m) | (m3/h) | (l/s) |  |
| Start | 08h00mn | Swin | 6m22 | 4.3m3/h | 1.2l/sec | Fair |
| 1h00 | 08h01mn | 30mn | 6m24 |  |  | Fair |
|  |  | 40mn | 6m25 |  |  | Fair |
|  |  | 50mn | 6m26 |  |  | Fair |
|  |  | 60mn | 6m27 |  |  | Fair |
|  |  | 70mn | 6m28 |  |  | Fair |
|  |  | 80mn | 6m29 |  |  | Fair |
|  |  | 90mn | 6m30 |  |  | Fair |
|  |  | 100mn | 6m60 |  |  | Fair |
|  |  | 110mn | 6m61 |  |  | Fair |
|  |  | 120mn | 6m62 |  |  | Fair |
| 2hrs | 09h00mn | 130mn | 25m00 | 4.3m3/h |  | Fair |
|  |  | 140mn | 25m15 |  |  | Clean |
|  |  | 150mn | 25m19 |  |  | Clean |
|  |  | 160mn | 25m25 |  |  | Clean |
| 3hrs | 10h02mn | 170mn | 25m40 | 4.3m3/h |  | Clean |

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 23/05/2016 |  | Well | 169m |  |  |  |
|  |  |  | (m) | (m3/h) | (l/s) |  |
|  |  | Swim |  |  | 1.2l/s | Clean |
| 3hrs | 10hr:25mn | 180mn | 25m21 | 4.3m3/h |  | Clean |
|  |  | 180mn | 25m21 |  |  | Clean |
|  |  | 180mn | 25m21 |  |  | Clean |
|  |  | 180mn | 25m21 |  |  | Clean |
|  |  | 180mn | 25m21 |  |  | Clean |
| 4hrs | 11hr:30mn | 330mn | 27m.45 | 4.3m3/h |  | Clean |
|  |  | 355mn | 30m.60 |  |  | Clean |
|  |  | 395mn | 35m.50 |  |  | Clean |
|  |  | 430mn | 40m.0 |  |  | Clean |
| 5hrs | 12hr:30mn | 450mn | 45m.20 | 4.3m3/h |  | Clean |
|  |  | 465mn | 45m.22 |  |  | Clean |
|  |  | 475mn | 45m.25 |  |  | Clean |
|  |  | 485mn | 45m.30 |  |  | Clean |
| 6hrs | 13hr:10mn | 505mn | 45m.35 | 4.3m3/h |  | Clean |
|  |  | 506mn | 45m.36 |  |  | Clean |
|  |  | 507mn | 45m.40 |  |  | Clean |
|  |  | 515mn | 45m.46 |  |  | Clean |
| 7hrs | 14hr:15mn | 537mn | 46m.00 | 4.3m3/h |  | Clean |
|  |  | 557mn | 46m.00 |  |  | Clean |
|  |  | 605mn | 46m.00 |  |  | Clean |
|  |  | 640mn | 46m.00 |  |  | Clean |
|  |  | 655mn | 46m.00 |  |  | Clean |
|  |  | 670mn | 46m.00 |  |  | Clean |
| 8hrs | 15hr:05mn | 685mn | 48m.05 | 4.3m3/h |  | Clean |
|  |  | 710mn | 47m.10 |  |  | Clean |
|  |  | 715mn | 48m.0 |  |  | Clean |
|  |  | 725mn | 40m,05 |  |  | Clean |
|  |  | 735mn | 50m.0 |  |  | Clean |
|  |  | 740mn | 51m.0 |  |  | Clean |
|  |  | 745mn | 52m.0 |  |  | Clean |
| 9hrs | 16hr:15mn | 800mn | 53m05 | 4.3m3/h |  | Clean |
|  |  | 840mn | 54m |  |  | Clean |
|  |  | 850mn | 55m |  |  | Clean |
| 10hrs | 17hr:20mn | 875mn | 56m | 4.3m3/h |  | Clean |
|  |  | 885mn | 57m |  |  | Clean |
|  |  | 910mn | 58m |  |  | Clean |
| 11hrs | 18hr:15mn | 930mn | 59m | 4.3m3/h |  | Clean |
| 11hrs | 18hr:45mn | 960mn | 59m | 4.3m3/h |  | Clean |
|  | 18hr:60mn | 975mn | 59m |  |  | Clean |
| 12hr | 19hr:30mn | 1005mn | 60m | 4.3m3/h |  | Clean |
|  | 19hr:55mn | 1060mn | 60m |  |  | Clean |
|  | 20hr:00mn | 1065mn | 60m |  |  |  |

Submitted by:                                                          Prepared & Conducted by:

John Melvin Kuminah                                            Felix

Company Executive Secretary                               Technician

PROJECT: RURAL WATER SUPPLY AND SANITATION PROJECT

LOCATION: Manbodu Town,KONO DISTRICT

CLIENT: SALWACO & ADB

PUMP /RECOVERY TEST RESULT: 5.4m3/h

DEPTH: 50M

BOREHOLE No. 10 HAND PUMP

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 29/03/2016 | 09h25mn | Well | 60m |  |  |  |
|  |  | 25mn | (m) | (m3/h) | (l/s) |  |
| Start | 09h25mn | Swin | 6m22 | 5.4m3/h | 1.5l/sec | Fair |
| 1h00 | 09h01mn | 30mn | 6m24 |  |  | Fair |
|  |  | 40mn | 6m25 |  |  | Fair |
|  |  | 50mn | 6m26 |  |  | Fair |
|  |  | 60mn | 6m27 |  |  | Fair |
|  |  | 70mn | 6m28 |  |  | Fair |
|  |  | 80mn | 6m29 |  |  | Fair |
|  |  | 90mn | 6m30 |  |  | Fair |
|  |  | 100mn | 6m60 |  |  | Fair |
|  |  | 110mn | 6m61 |  |  | Fair |
|  |  | 120mn | 6m62 |  |  | Fair |
| 2hrs | 10h25mn | 130mn | 25m00 | 5.4m3/h |  | Fair |
|  |  | 140mn | 25m15 |  |  | Clean |
|  |  | 150mn | 25m19 |  |  | Clean |
|  |  | 160mn | 25m25 |  |  | Clean |
| 3hrs | 11h25mn | 170mn | 25m40 | 5.4m3/h |  | Clean |

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 29/03/2016 |  | Well | 169m |  |  |  |
|  |  |  | (m) | (m3/h) | (l/s) |  |
|  |  | Swim |  |  | 1.2l/s | Clean |
| 3hrs | 11hr:25mn | 180mn | 25m21 | 5.4m3/h |  | Clean |
|  |  | 180mn | 25m21 | 5.4m3/h |  | Clean |
|  |  | 180mn | 25m21 | 5.4m3/h |  | Clean |
|  |  | 180mn | 25m21 | 5.4m3/h |  | Clean |
|  |  | 180mn | 25m21 | 5.4m3/h |  | Clean |
| 4hrs | 12hr:30mn | 330mn | 27m.45 | 5.4m3/h |  | Clean |
|  |  | 355mn | 30m.60 | 5.4m3/h |  | Clean |
|  |  | 395mn | 35m.50 | 5.4m3/h |  | Clean |
|  |  | 430mn | 40m.0 | 5.4m3/h |  | Clean |
| 5hrs | 13hr:30mn | 450mn | 45m.20 | 5.4m3/h |  | Clean |
|  |  | 465mn | 45m.22 | 5.4m3/h |  | Clean |
|  |  | 475mn | 45m.25 | 5.4m3/h |  | Clean |
|  |  | 485mn | 45m.30 | 5.4m3/h |  | Clean |
| 6hrs | 14hr:10mn | 505mn | 45m.35 | 5.4m3/h |  | Clean |
|  |  | 506mn | 45m.36 | 5.4m3/h |  | Clean |
|  |  | 507mn | 45m.40 | 5.4m3/h |  | Clean |
|  |  | 515mn | 45m.46 | 5.4m3/h |  | Clean |
| 7hrs | 15hr:15mn | 537mn | 46m.00 | 5.4m3/h |  | Clean |
|  |  | 557mn | 46m.00 | 5.4m3/h |  | Clean |
|  |  | 605mn | 46m.00 | 5.4m3/h |  | Clean |
|  |  | 640mn | 46m.00 | 5.4m3/h |  | Clean |
|  |  | 655mn | 46m.00 | 5.4m3/h |  | Clean |
|  |  | 670mn | 46m.00 | 5.4m3/h |  | Clean |
| 8hrs | 16hr:05mn | 685mn | 48m.05 | 5.4m3/h |  | Clean |
|  |  | 710mn | 47m.10 | 5.4m3/h |  | Clean |
|  |  | 715mn | 48m.0 | 5.4m3/h |  | Clean |
|  |  | 725mn | 40m,05 | 5.4m3/h |  | Clean |
|  |  | 735mn | 50m.0 | 5.4m3/h |  | Clean |
|  |  | 740mn | 51m.0 | 5.4m3/h |  | Clean |
|  |  | 745mn | 52m.0 | 5.4m3/h |  | Clean |
| 9hrs | 17hr:15mn | 800mn | 53m05 | 5.4m3/h |  | Clean |
|  |  | 840mn | 54m | 5.4m3/h |  | Clean |
|  |  | 850mn | 55m | 5.4m3/h |  | Clean |
| 10hrs | 18hr:20mn | 875mn | 56m | 5.4m3/h |  | Clean |
|  |  | 885mn | 57m | 5.4m3/h |  | Clean |
|  |  | 910mn | 58m | 5.4m3/h |  | Clean |
| 11hrs | 19hr:15mn | 930mn | 59m | 5.4m3/h |  | Clean |
| 11hrs |  | 960mn | 59m | 5.4m3/h |  | Clean |
|  |  | 975mn | 59m | 5.4m3/h |  | Clean |
| 12hr | 20hr:30mn | 1005mn | 60m | 5.4m3/h |  | Clean |
|  |  | 1040mn | 60m |  |  |  |
|  |  | 1055mn | 60m |  |  |  |
|  | 21hr:25mn | 1120mn | 60m |  |  |  |

Submitted by:                                                          Prepared & Conducted by:

John Melvin Kuminah                                            Felix

Company Executive Secretary                               Technician

PROJECT: RURAL WATER SUPPLY AND SANITATION PROJECT

LOCATION: Nymbadu, KONO DISTRICT

CLIENT: SALWACO & ADB

PUMP /RECOVERY TEST RESULT: 6.480m3/h

DEPTH: 60M

BOREHOLE No. 11SOLAR 12HRS

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 21/02/2016 | 09h25mn | Well | 60m |  |  |  |
|  |  | 25mn | (m) | (m3/h) | (l/s) |  |
| Start | 09h25mn | Swin | 6m22 | 6.480m3/h | 1.8l/sec | Fair |
| 1h00 | 09h01mn | 30mn | 6m24 |  |  | Fair |
|  |  | 40mn | 6m25 |  |  | Fair |
|  |  | 50mn | 6m26 |  |  | Fair |
|  |  | 60mn | 6m27 |  |  | Fair |
|  |  | 70mn | 6m28 |  |  | Fair |
|  |  | 80mn | 6m29 |  |  | Fair |
|  |  | 90mn | 6m30 |  |  | Fair |
|  |  | 100mn | 6m60 |  |  | Fair |
|  |  | 110mn | 6m61 |  |  | Fair |
|  |  | 120mn | 6m62 |  |  | Fair |
| 2hrs | 10h25mn | 130mn | 25m00 | 6.480m3/h |  | Fair |
|  |  | 140mn | 25m15 |  |  | Clean |
|  |  | 150mn | 25m19 |  |  | Clean |
|  |  | 160mn | 25m25 |  |  | Clean |
| 3hrs | 11h02mn | 170mn | 25m40 | 6.480m3/h |  | Clean |

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 21/02/2016 |  | Well | 169m |  |  |  |
|  |  |  | (m) | (m3/h) | (l/s) |  |
|  |  | Swim |  |  | 1.8l/s | Clean |
| 3hrs | 12hr:25mn | 180mn | 25m21 | 6.480m3/h |  | Clean |
|  |  | 180mn | 25m21 | 6.480m3/h |  | Clean |
|  |  | 180mn | 25m21 | 6.480m3/h |  | Clean |
|  |  | 180mn | 25m21 | 6.480m3/h |  | Clean |
|  |  | 180mn | 25m21 | 6.480m3/h |  | Clean |
| 4hrs | 13hr:30mn | 330mn | 27m.45 | 6.480m3/h |  | Clean |
|  |  | 355mn | 30m.60 | 6.480m3/h |  | Clean |
|  |  | 395mn | 35m.50 | 6.480m3/h |  | Clean |
|  |  | 430mn | 40m.0 | 6.480m3/h |  | Clean |
| 5hrs | 14hr:30mn | 450mn | 45m.20 | 6.480m3/h |  | Clean |
|  |  | 465mn | 45m.22 | 6.480m3/h |  | Clean |
|  |  | 475mn | 45m.25 | 6.480m3/h |  | Clean |
|  |  | 485mn | 45m.30 | 6.480m3/h |  | Clean |
| 6hrs | 15hr:10mn | 505mn | 45m.35 | 6.480m3/h |  | Clean |
|  |  | 506mn | 45m.36 | 6.480m3/h |  | Clean |
|  |  | 507mn | 45m.40 | 6.480m3/h |  | Clean |
|  |  | 515mn | 45m.46 | 6.480m3/h |  | Clean |
| 7hrs | 16hr:15mn | 537mn | 46m.00 | 6.480m3/h |  | Clean |
|  |  | 557mn | 46m.00 | 6.480m3/h |  | Clean |
|  |  | 605mn | 46m.00 | 6.480m3/h |  | Clean |
|  |  | 640mn | 46m.00 | 6.480m3/h |  | Clean |
|  |  | 655mn | 46m.00 | 6.480m3/h |  | Clean |
|  |  | 670mn | 46m.00 | 6.480m3/h |  | Clean |
| 8hrs | 17hr:05mn | 685mn | 48m.05 | 6.480m3/h |  | Clean |
|  |  | 710mn | 47m.10 | 6.480m3/h |  | Clean |
|  |  | 715mn | 48m.0 | 6.480m3/h |  | Clean |
|  |  | 725mn | 40m,05 | 6.480m3/h |  | Clean |
|  |  | 735mn | 50m.0 | 6.480m3/h |  | Clean |
|  |  | 740mn | 51m.0 | 6.480m3/h |  | Clean |
|  |  | 745mn | 52m.0 | 6.480m3/h |  | Clean |
| 9hrs | 18hr:15mn | 800mn | 53m05 | 6.480m3/h |  | Clean |
|  |  | 840mn | 54m | 6.480m3/h |  | Clean |
|  |  | 850mn | 55m | 6.480m3/h |  | Clean |
| 10hrs | 19hr:20mn | 875mn | 56m | 6.480m3/h |  | Clean |
|  |  | 885mn | 57m | 6.480m3/h |  | Clean |
|  |  | 910mn | 58m | 6.480m3/h |  | Clean |
| 11hrs | 20hr:15mn | 930mn | 59m | 6.480m3/h |  | Clean |
| 11hrs | 20hr:45mn | 960mn | 59m | 6.480m3/h |  | Clean |
|  |  | 975mn | 59m | 6.480m3/h |  | Clean |
| 12hr | 21hr:30mn | 1005mn | 60m | 6.480m3/h |  | Clean |

Submitted by:                                                          Prepared & Conducted by:

John Melvin Kuminah                                            Felix

Company Executive Secretary                               Technician

PROJECT: RURAL WATER SUPPLY AND SANITATION PROJECT

LOCATION: Koaquima-Bottom Mango,KONO DISTRICT

CLIENT: SALWACO & ADB

PUMP /RECOVERY TEST RESULT: 4.3m3/h

DEPTH: 60M

BOREHOLE No. 12 SOLAR

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 22/03/2016 | 10h00mn | Well | 60m |  |  |  |
|  |  | 25mn | (m) | (m3/h) | (l/s) |  |
| Start | 10h00mn | Swin | 6m22 | 4.3m3/h | 1.2l/sec | Fair |
| 1h00 | 10h01mn | 30mn | 6m24 |  |  | Fair |
|  | 10h02mn | 40mn | 6m25 |  |  | Fair |
|  | 10h03mn | 50mn | 6m26 |  |  | Fair |
|  | 10h04mn | 60mn | 6m27 |  |  | Fair |
|  | 10h05mn | 70mn | 6m28 |  |  | Fair |
|  | 10h06mn | 80mn | 6m29 |  |  | Fair |
|  | 10h07mn | 90mn | 6m30 |  |  | Fair |
|  | 10h08mn | 100mn | 6m60 |  |  | Fair |
|  | 10h10mn | 110mn | 6m61 |  |  | Fair |
|  | 10h50mn | 120mn | 6m62 |  |  | Fair |
| 2hrs | 11h00mn | 130mn | 25m00 | 4.3m3/h |  | Fair |
|  | 11h20mn | 140mn | 25m15 |  |  | Clean |
|  | 11h45mn | 150mn | 25m19 |  |  | Clean |
|  | 11h55mn | 160mn | 25m25 |  |  | Clean |
| 3hrs | 12h02mn | 170mn | 25m40 | 4.3m3/h |  | Clean |

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 1/02/2016 |  | Well | 169m |  |  |  |
|  |  |  | (m) | (m3/h) | (l/s) |  |
|  |  | Swim |  |  | 1.2l/s | Clean |
| 3hrs | 12hr:25mn | 180mn | 25m21 | 4.3m3/h |  | Clean |
|  | 12hr:30mn | 180mn | 25m21 |  |  | Clean |
|  | 12hr:35mn | 180mn | 25m21 |  |  | Clean |
|  | 12hr:38mn | 180mn | 25m21 |  |  | Clean |
|  | 12hr:45mn | 180mn | 25m21 |  |  | Clean |
| 4hrs | 13hr:30mn | 330mn | 27m.45 | 4.3m3/h |  | Clean |
|  | 13hr:35mn | 355mn | 30m.60 |  |  | Clean |
|  | 13hr:45mn | 395mn | 35m.50 |  |  | Clean |
|  | 13hr:55mn | 430mn | 40m.0 |  |  | Clean |
| 5hrs | 14hr:30mn | 450mn | 45m.20 | 4.3m3/h |  | Clean |
|  | 14hr:35mn | 465mn | 45m.22 |  |  | Clean |
|  | 14hr:45mn | 475mn | 45m.25 |  |  | Clean |
|  | 14hr:55mn | 485mn | 45m.30 |  |  | Clean |
| 6hrs | 15hr:10mn | 505mn | 45m.35 | 4.3m3/h |  | Clean |
|  | 15hr:35mn | 506mn | 45m.36 |  |  | Clean |
|  | 15hr:45mn | 507mn | 45m.40 |  |  | Clean |
|  | 15hr:58mn | 515mn | 45m.46 |  |  | Clean |
| 7hrs | 16hr:15mn | 537mn | 46m.00 | 4.3m3/h |  | Clean |
|  | 16hr:20mn | 557mn | 46m.00 |  |  | Clean |
|  | 16hr:25mn | 605mn | 46m.00 |  |  | Clean |
|  | 16hr:35mn | 640mn | 46m.00 |  |  | Clean |
|  | 16hr:40mn | 655mn | 46m.00 |  |  | Clean |
|  | 16hr:55mn | 670mn | 46m.00 |  |  | Clean |
| 8hrs | 17hr:05mn | 685mn | 48m.05 | 4.3m3/h |  | Clean |
|  | 17hr:25mn | 710mn | 47m.10 |  |  | Clean |
|  | 17hr:30mn | 715mn | 48m.0 |  |  | Clean |
|  | 17hr:40mn | 725mn | 40m,05 |  |  | Clean |
|  | 17hr:50mn | 735mn | 50m.0 |  |  | Clean |
|  | 17hr:55mn | 740mn | 51m.0 |  |  | Clean |
|  | 17hr:60mn | 745mn | 52m.0 |  |  | Clean |
| 9hrs | 18hr:15mn | 800mn | 53m05 | 4.3m3/h |  | Clean |
|  | 18hr:40mn | 840mn | 54m |  |  | Clean |
|  | 18hr:55mn | 850mn | 55m |  |  | Clean |
| 10hrs | 19hr:20mn | 875mn | 56m | 4.3m3/h |  | Clean |
|  | 19hr:30mn | 885mn | 57m |  |  | Clean |
|  | 19hr:55mn | 910mn | 58m |  |  | Clean |
| 11hrs | 20hr:15mn | 930mn | 59m | 4.3m3/h |  | Clean |
| 11hrs | 20hr:45mn | 960mn | 59m | 4.3m3/h |  | Clean |
|  | 20hr:60mn | 975mn | 59m |  |  | Clean |
| 12hr | 21hr:30mn | 1005mn | 60m | 4.3m3/h |  | Clean |

Submitted by:                                                          Prepared & Conducted by:

John Melvin Kuminah                                            Felix

Company Executive Secretary                               Technician

PROJECT: RURAL WATER SUPPLY AND SANITATION PROJECT

LOCATION: Penduma,KONO DISTRICT

CLIENT: SALWACO & ADB

PUMP /RECOVERY TEST RESULT: m3/h

DEPTH: 50M

BOREHOLE No. 13 SOLAR

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 23/03/2016 | 10h00mn | Well | 60m |  |  |  |
|  |  | 25mn | (m) | (m3/h) | (l/s) |  |
| Start | 10h00mn | Swin | 6m22 | 4.3m3/h | 1.2l/sec | Fair |
| 1h00 | 10h01mn | 30mn | 6m24 |  |  | Fair |
|  | 10h02mn | 40mn | 6m25 |  |  | Fair |
|  | 10h03mn | 50mn | 6m26 |  |  | Fair |
|  | 10h04mn | 60mn | 6m27 |  |  | Fair |
|  | 10h05mn | 70mn | 6m28 |  |  | Fair |
|  | 10h06mn | 80mn | 6m29 |  |  | Fair |
|  | 10h07mn | 90mn | 6m30 |  |  | Fair |
|  | 10h08mn | 100mn | 6m60 |  |  | Fair |
|  | 10h10mn | 110mn | 6m61 |  |  | Fair |
|  | 10h50mn | 120mn | 6m62 |  |  | Fair |
| 2hrs | 11h00mn | 130mn | 25m00 | 4.3m3/h |  | Fair |
|  | 11h20mn | 140mn | 25m15 |  |  | Clean |
|  | 11h45mn | 150mn | 25m19 |  |  | Clean |
|  | 11h55mn | 160mn | 25m25 |  |  | Clean |
| 3hrs | 12h02mn | 170mn | 25m40 | 4.3m3/h |  | Clean |

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 1/02/2016 |  | Well | 169m |  |  |  |
|  |  |  | (m) | (m3/h) | (l/s) |  |
|  |  | Swim |  |  | 1.2l/s | Clean |
| 3hrs | 12hr:25mn | 180mn | 25m21 | 4.3m3/h |  | Clean |
|  | 12hr:30mn | 180mn | 25m21 |  |  | Clean |
|  | 12hr:35mn | 180mn | 25m21 |  |  | Clean |
|  | 12hr:38mn | 180mn | 25m21 |  |  | Clean |
|  | 12hr:45mn | 180mn | 25m21 |  |  | Clean |
| 4hrs | 13hr:30mn | 330mn | 27m.45 | 4.3m3/h |  | Clean |
|  | 13hr:35mn | 355mn | 30m.60 |  |  | Clean |
|  | 13hr:45mn | 395mn | 35m.50 |  |  | Clean |
|  | 13hr:55mn | 430mn | 40m.0 |  |  | Clean |
| 5hrs | 14hr:30mn | 450mn | 45m.20 | 4.3m3/h |  | Clean |
|  | 14hr:35mn | 465mn | 45m.22 |  |  | Clean |
|  | 14hr:45mn | 475mn | 45m.25 |  |  | Clean |
|  | 14hr:55mn | 485mn | 45m.30 |  |  | Clean |
| 6hrs | 15hr:10mn | 505mn | 45m.35 | 4.3m3/h |  | Clean |
|  | 15hr:35mn | 506mn | 45m.36 |  |  | Clean |
|  | 15hr:45mn | 507mn | 45m.40 |  |  | Clean |
|  | 15hr:58mn | 515mn | 45m.46 |  |  | Clean |
| 7hrs | 16hr:15mn | 537mn | 46m.00 | 4.3m3/h |  | Clean |
|  | 16hr:20mn | 557mn | 46m.00 |  |  | Clean |
|  | 16hr:25mn | 605mn | 46m.00 |  |  | Clean |
|  | 16hr:35mn | 640mn | 46m.00 |  |  | Clean |
|  | 16hr:40mn | 655mn | 46m.00 |  |  | Clean |
|  | 16hr:55mn | 670mn | 46m.00 |  |  | Clean |
| 8hrs | 17hr:05mn | 685mn | 48m.05 | 4.3m3/h |  | Clean |
|  | 17hr:25mn | 710mn | 47m.10 |  |  | Clean |
|  | 17hr:30mn | 715mn | 48m.0 |  |  | Clean |
|  | 17hr:40mn | 725mn | 40m,05 |  |  | Clean |
|  | 17hr:50mn | 735mn | 50m.0 |  |  | Clean |
|  | 17hr:55mn | 740mn | 51m.0 |  |  | Clean |
|  | 17hr:60mn | 745mn | 52m.0 |  |  | Clean |
| 9hrs | 18hr:15mn | 800mn | 53m05 | 4.3m3/h |  | Clean |
|  | 18hr:40mn | 840mn | 54m |  |  | Clean |
|  | 18hr:55mn | 850mn | 55m |  |  | Clean |
| 10hrs | 19hr:20mn | 875mn | 56m | 4.3m3/h |  | Clean |
|  | 19hr:30mn | 885mn | 57m |  |  | Clean |
|  | 19hr:55mn | 910mn | 58m |  |  | Clean |
| 11hrs | 20hr:15mn | 930mn | 59m | 4.3m3/h |  | Clean |
| 11hrs | 20hr:45mn | 960mn | 59m | 4.3m3/h |  | Clean |
|  | 20hr:60mn | 975mn | 59m |  |  | Clean |
| 12hr | 21hr:30mn | 1005mn | 60m | 4.3m3/h |  | Clean |

Submitted by:                                                          Prepared & Conducted by:

John Melvin Kuminah                                            Felix

Company Executive Secretary                               Technician

PROJECT: RURAL WATER SUPPLY AND SANITATION PROJECT

LOCATION: SIMBAKORO NIMIKORO,KONO DISTRICT

CLIENT: SALWACO & ADB

PUMP /RECOVERY TEST RESULT: m3/h

DEPTH: 50M

BOREHOLE No. 14 SOLAR

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 23/03/2016 | 10h00mn | Well | 60m |  |  |  |
|  |  | 25mn | (m) | (m3/h) | (l/s) |  |
| Start | 10h00mn | Swin | 6m22 | 4.3m3/h | 1.2l/sec | Fair |
| 1h00 | 10h01mn | 30mn | 6m24 |  |  | Fair |
|  | 10h02mn | 40mn | 6m25 |  |  | Fair |
|  | 10h03mn | 50mn | 6m26 |  |  | Fair |
|  | 10h04mn | 60mn | 6m27 |  |  | Fair |
|  | 10h05mn | 70mn | 6m28 |  |  | Fair |
|  | 10h06mn | 80mn | 6m29 |  |  | Fair |
|  | 10h07mn | 90mn | 6m30 |  |  | Fair |
|  | 10h08mn | 100mn | 6m60 |  |  | Fair |
|  | 10h10mn | 110mn | 6m61 |  |  | Fair |
|  | 10h50mn | 120mn | 6m62 |  |  | Fair |
| 2hrs | 11h00mn | 130mn | 25m00 | 4.3m3/h |  | Fair |
|  | 11h20mn | 140mn | 25m15 |  |  | Clean |
|  | 11h45mn | 150mn | 25m19 |  |  | Clean |
|  | 11h55mn | 160mn | 25m25 |  |  | Clean |
| 3hrs | 12h02mn | 170mn | 25m40 | 4.3m3/h |  | Clean |

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 1/02/2016 |  | Well | 169m |  |  |  |
|  |  |  | (m) | (m3/h) | (l/s) |  |
|  |  | Swim |  |  | 1.2l/s | Clean |
| 3hrs | 12hr:25mn | 180mn | 25m21 | 4.3m3/h |  | Clean |
|  | 12hr:30mn | 180mn | 25m21 |  |  | Clean |
|  | 12hr:35mn | 180mn | 25m21 |  |  | Clean |
|  | 12hr:38mn | 180mn | 25m21 |  |  | Clean |
|  | 12hr:45mn | 180mn | 25m21 |  |  | Clean |
| 4hrs | 13hr:30mn | 330mn | 27m.45 | 4.3m3/h |  | Clean |
|  | 13hr:35mn | 355mn | 30m.60 |  |  | Clean |
|  | 13hr:45mn | 395mn | 35m.50 |  |  | Clean |
|  | 13hr:55mn | 430mn | 40m.0 |  |  | Clean |
| 5hrs | 14hr:30mn | 450mn | 45m.20 | 4.3m3/h |  | Clean |
|  | 14hr:35mn | 465mn | 45m.22 |  |  | Clean |
|  | 14hr:45mn | 475mn | 45m.25 |  |  | Clean |
|  | 14hr:55mn | 485mn | 45m.30 |  |  | Clean |
| 6hrs | 15hr:10mn | 505mn | 45m.35 | 4.3m3/h |  | Clean |
|  | 15hr:35mn | 506mn | 45m.36 |  |  | Clean |
|  | 15hr:45mn | 507mn | 45m.40 |  |  | Clean |
|  | 15hr:58mn | 515mn | 45m.46 |  |  | Clean |
| 7hrs | 16hr:15mn | 537mn | 46m.00 | 4.3m3/h |  | Clean |
|  | 16hr:20mn | 557mn | 46m.00 |  |  | Clean |
|  | 16hr:25mn | 605mn | 46m.00 |  |  | Clean |
|  | 16hr:35mn | 640mn | 46m.00 |  |  | Clean |
|  | 16hr:40mn | 655mn | 46m.00 |  |  | Clean |
|  | 16hr:55mn | 670mn | 46m.00 |  |  | Clean |
| 8hrs | 17hr:05mn | 685mn | 48m.05 | 4.3m3/h |  | Clean |
|  | 17hr:25mn | 710mn | 47m.10 |  |  | Clean |
|  | 17hr:30mn | 715mn | 48m.0 |  |  | Clean |
|  | 17hr:40mn | 725mn | 40m,05 |  |  | Clean |
|  | 17hr:50mn | 735mn | 50m.0 |  |  | Clean |
|  | 17hr:55mn | 740mn | 51m.0 |  |  | Clean |
|  | 17hr:60mn | 745mn | 52m.0 |  |  | Clean |
| 9hrs | 18hr:15mn | 800mn | 53m05 | 4.3m3/h |  | Clean |
|  | 18hr:40mn | 840mn | 54m |  |  | Clean |
|  | 18hr:55mn | 850mn | 55m |  |  | Clean |
| 10hrs | 19hr:20mn | 875mn | 56m | 4.3m3/h |  | Clean |
|  | 19hr:30mn | 885mn | 57m |  |  | Clean |
|  | 19hr:55mn | 910mn | 58m |  |  | Clean |
| 11hrs | 20hr:15mn | 930mn | 59m | 4.3m3/h |  | Clean |
| 11hrs | 20hr:45mn | 960mn | 59m | 4.3m3/h |  | Clean |
|  | 20hr:60mn | 975mn | 59m |  |  | Clean |
| 12hr | 21hr:30mn | 1005mn | 60m | 4.3m3/h |  | Clean |

Submitted by:                                                          Prepared & Conducted by:

John Melvin Kuminah                                            Felix

Company Executive Secretary                               Technician

PROJECT: RURAL WATER SUPPLY AND SANITATION PROJECT

LOCATION: TOMBODU,KONO DISTRICT

CLIENT: SALWACO & ADB

PUMP /RECOVERY TEST RESULT: 6.480m3/h

DEPTH: 50M

BOREHOLE No. 15 SOLAR

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 19/03/2016 | 08h00mn | Well | 60m |  |  |  |
|  |  | 25mn | (m) | (m3/h) | (l/s) |  |
| Start | 08h00mn | Swin | 6m22 | 6.480m3/h | 1.8l/sec | Fair |
| 1h00 | 08h01mn | 30mn | 6m24 |  |  | Fair |
|  |  | 40mn | 6m25 |  |  | Fair |
|  |  | 50mn | 6m26 |  |  | Fair |
|  |  | 60mn | 6m27 |  |  | Fair |
|  |  | 70mn | 6m28 |  |  | Fair |
|  |  | 80mn | 6m29 |  |  | Fair |
|  |  | 90mn | 6m30 |  |  | Fair |
|  |  | 100mn | 6m60 |  |  | Fair |
|  |  | 110mn | 6m61 |  |  | Fair |
|  |  | 120mn | 6m62 |  |  | Fair |
| 2hrs | 9h00mn | 130mn | 25m00 | 6.480m3/h |  | Fair |
|  |  | 140mn | 25m15 |  |  | Clean |
|  |  | 150mn | 25m19 |  |  | Clean |
|  |  | 160mn | 25m25 |  |  | Clean |
| 3hrs | 10h02mn | 170mn | 25m40 | 6.480m3/h |  | Clean |

| Date | Time |  | Water level | Quantity |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 19/03/2016 |  | Well | 169m |  |  |  |
|  |  |  | (m) | (m3/h) | (l/s) |  |
|  |  | Swim |  |  | 1.8l/s | Clean |
| 3hrs | 10hr:25mn | 180mn | 25m21 | 6.480m3/h |  | Clean |
|  |  | 180mn | 25m21 | 6.480m3/h |  | Clean |
|  |  | 180mn | 25m21 | 6.480m3/h |  | Clean |
|  |  | 180mn | 25m21 | 6.480m3/h |  | Clean |
|  |  | 180mn | 25m21 | 6.480m3/h |  | Clean |
| 4hrs | 11hr:30mn | 330mn | 27m.45 | 6.480m3/h |  | Clean |
|  |  | 355mn | 30m.60 | 6.480m3/h |  | Clean |
|  |  | 395mn | 35m.50 | 6.480m3/h |  | Clean |
|  |  | 430mn | 40m.0 | 6.480m3/h |  | Clean |
| 5hrs | 12hr:30mn | 450mn | 45m.20 | 6.480m3/h |  | Clean |
|  |  | 465mn | 45m.22 | 6.480m3/h |  | Clean |
|  |  | 475mn | 45m.25 | 6.480m3/h |  | Clean |
|  |  | 485mn | 45m.30 | 6.480m3/h |  | Clean |
| 6hrs | 13hr:10mn | 505mn | 45m.35 | 6.480m3/h |  | Clean |
|  |  | 506mn | 45m.36 | 6.480m3/h |  | Clean |
|  |  | 507mn | 45m.40 | 6.480m3/h |  | Clean |
|  |  | 515mn | 45m.46 | 6.480m3/h |  | Clean |
| 7hrs | 14hr:15mn | 537mn | 46m.00 | 6.480m3/h |  | Clean |
|  |  | 557mn | 46m.00 | 6.480m3/h |  | Clean |
|  |  | 605mn | 46m.00 | 6.480m3/h |  | Clean |
|  |  | 640mn | 46m.00 | 6.480m3/h |  | Clean |
|  |  | 655mn | 46m.00 | 6.480m3/h |  | Clean |
|  |  | 670mn | 46m.00 | 6.480m3/h |  | Clean |
| 8hrs | 15hr:05mn | 685mn | 48m.05 | 6.480m3/h |  | Clean |
|  |  | 710mn | 47m.10 | 6.480m3/h |  | Clean |
|  |  | 715mn | 48m.0 | 6.480m3/h |  | Clean |
|  |  | 725mn | 40m,05 | 6.480m3/h |  | Clean |
|  |  | 735mn | 50m.0 | 6.480m3/h |  | Clean |
|  |  | 740mn | 51m.0 | 6.480m3/h |  | Clean |
|  |  | 745mn | 52m.0 | 6.480m3/h |  | Clean |
| 9hrs | 16hr:15mn | 800mn | 53m05 | 6.480m3/h |  | Clean |
|  |  | 840mn | 54m | 6.480m3/h |  | Clean |
|  |  | 850mn | 55m | 6.480m3/h |  | Clean |
| 10hrs | 17hr:20mn | 875mn | 56m | 6.480m3/h |  | Clean |
|  |  | 885mn | 57m | 6.480m3/h |  | Clean |
|  |  | 910mn | 58m | 6.480m3/h |  | Clean |
| 11hrs | 18hr:15mn | 930mn | 59m | 6.480m3/h |  | Clean |
| 11hrs | 18hr:45mn | 960mn | 59m | 6.480m3/h |  | Clean |
|  | 18hr:60mn | 975mn | 59m | 6.480m3/h |  | Clean |
| 12hr | 19hr:30mn | 1005mn | 60m | 6.480m3/h |  | Clean |

Submitted by:                                                          Prepared & Conducted by:

John Melvin Kuminah                                            Felix

Company Executive Secretary                               Technician